Calderdale Energy Future - Appendix A

| Domestic sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Cost-effectiveness - £/TCO2 |  |  |  |
| Central business case |  | £/TCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Mini wind turbines (5kW) with FIT | -457 | 650 |
| 2 | Photovoltaic generation with FIT | -401 | 2,592 |
| 3 | Biomass boilers with RHI | -325 | N/A |
| 4 | Electronic products | -245 | 1,398,389 |
| 5 | Information and Communication Technology products | -244 | 262,968 |
| 6 | Integrated digital TVs | -228 | 5,560 |
| 7 | Reduced standby consumption | -228 | 30,903 |
| 8 | Reduce heating for washing machines | -209 | 28,259 |
| 9 | A++ rated cold appliances | -180 | 953 |
| 10 | A rated ovens | -175 | BAU |
| 11 | Biomass district heating with RHI | -155 | N/A |
| 12 | Efficient lighting | -153 | 57,531 |
| 13 | A-rated condensing boiler | -145 | BAU |
| 14 | Insulate primary pipework | -132 | 2,808 |
| 15 | Glazing - old double to new double | -123 | 3,351 |
| 16 | Uninsulated cylinder to high performance | -122 | 1,572 |
| 17 | Glazing - single to new | -120 | 2,229 |
| 18 | Insulated doors | -118 | BAU |
| 19 | Reduce household heating by 1 C | -111 | 52,050 |
| 20 | Induction hobs | -110 | BAU |
| 21 | Loft insulation 0 - 270mm | -79 | 3,043 |
| 22 | Pre76 cavity wall insulation | -73 | 10,338 |
| 23 | Improve airtightness | -71 | 7,164 |
| 24 | DIY floor insulation (susp. timber floors) | -70 | 4,812 |
| 25 | Loft insulation 25 - 270mm | -69 | 327 |
| 26 | Loft insulation 50 - 270mm | -59 | 2,067 |
| 27 | 76-83 cavity wall insulation | -56 | 1,985 |
| 28 | A+ rated wet appliances | -54 | 29,715 |
| 29 | Loft insulation 75 - 270mm | -52 | 4,631 |
| 30 | Post '83 cavity wall insulation | -30 | 1,066 |
| 31 | Turn unnecessary lighting off | -28 | 51,468 |
| 32 | Installed floor insulation (susp. Timber Floors) | -25 | BAU |
| 33 | Loft insulation 100 - 270mm | -8 | 10,395 |
| 34 | Glazing (to Best Practice) | -4 | 4,542 |
| 35 | Ground Source Heat Pump with RHI | 2 | N/A |
| 36 | Solid wall insulation | 9 | 11,039 |
| 37 | Loft insulation 125 - 270mm | 11 | BAU |
| 38 | Loft insulation 150 - 270mm | 59 | BAU |
| 39 | Room thermostat to control heating | 59 | 2,249 |
| 40 | Paper type solid wall insulation | 76 | 334 |
| 41 | Modestly insulated cyl to high performance | 90 | 5,200 |
| 42 | Thermostatic radiator valves | 135 | 3,412 |
| 43 | Air Source Heat Pump with RHI | 340 | N/A |
| 44 | Micro wind turbines (1kW) with FIT | 639 | 548 |
| 45 | Hot water cylinder 'stat | 671 | 1,635 |
| 46 | Solar water heating with RHI | 1173 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Domestic sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Carbon-effectiveness – Tonnes of Carbon |  |  |  |
| Central business case |  | KTCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Solid wall insulation | 18.97 | 11,039 |
| 2 | Reduce household heating by 1 C | 14.21 | 52,050 |
| 3 | Biomass boilers with RHI | 10.86 | N/A |
| 4 | Pre76 cavity wall insulation | 6.07 | 10,338 |
| 5 | Electronic products | 5.97 | 1,398,389 |
| 6 | Biomass district heating with RHI | 5.63 | N/A |
| 7 | Ground Source Heat Pump with RHI | 5.44 | N/A |
| 8 | Information and Communication Technology products | 3.92 | 262,968 |
| 9 | Efficient lighting | 3.67 | 57,531 |
| 10 | Air Source Heat Pump with RHI | 3.24 | N/A |
| 11 | Loft insulation 0 - 270mm | 1.86 | 3,043 |
| 12 | A+ rated wet appliances | 1.20 | 29,715 |
| 13 | DIY floor insulation (susp. timber floors) | 1.04 | 4,812 |
| 14 | Glazing - single to new | 0.97 | 2,229 |
| 15 | Mini wind turbines (5kW) with FIT | 0.90 | 650 |
| 16 | Reduce heating for washing machines | 0.87 | 28,259 |
| 17 | Photovoltaic generation with FIT | 0.86 | 2,592 |
| 18 | Loft insulation 100 - 270mm | 0.85 | 10,395 |
| 19 | Uninsulated cylinder to high performance | 0.79 | 1,572 |
| 20 | Solar water heating with RHI | 0.75 | N/A |
| 21 | Reduced standby consumption | 0.73 | 30,903 |
| 22 | Improve airtightness | 0.68 | 7,164 |
| 23 | Glazing (to Best Practice) | 0.66 | 4,542 |
| 24 | 76-83 cavity wall insulation | 0.62 | 1,985 |
| 25 | Glazing - old double to new double | 0.54 | 3,351 |
| 26 | Loft insulation 75 - 270mm | 0.52 | 4,631 |
| 27 | Modestly insulated cyl to high performance | 0.46 | 5,200 |
| 28 | Loft insulation 50 - 270mm | 0.33 | 2,067 |
| 29 | Room thermostat to control heating | 0.28 | 2,249 |
| 30 | Turn unnecessary lighting off | 0.22 | 51,468 |
| 31 | Post '83 cavity wall insulation | 0.18 | 1,066 |
| 32 | Thermostatic radiator valves | 0.15 | 3,412 |
| 33 | Insulate primary pipework | 0.12 | 2,808 |
| 34 | Paper type solid wall insulation | 0.09 | 334 |
| 35 | Loft insulation 25 - 270mm | 0.09 | 327 |
| 36 | Integrated digital TVs | 0.08 | 5,560 |
| 37 | Micro wind turbines (1kW) with FIT | 0.08 | 548 |
| 38 | A++ rated cold appliances | 0.07 | 953 |
| 39 | Hot water cylinder 'stat | 0.02 | 1,635 |
| 40 | A rated ovens | 0.00 | BAU |
| 41 | A-rated condensing boiler | 0.00 | BAU |
| 42 | Insulated doors | 0.00 | BAU |
| 43 | Induction hobs | 0.00 | BAU |
| 44 | Installed floor insulation (susp. Timber Floors) | 0.00 | BAU |
| 45 | Loft insulation 125 - 270mm | 0.00 | BAU |
| 46 | Loft insulation 150 - 270mm | 0.00 | BAU |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Commercial Buildings sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Cost-effectiveness - £/TCO2 |  |  |  |
| Central business case |  | £/TCO2 | Instances |
|  |  |  | By 2022 |
| 1 | OffEq Fax Machine switch off | -500.11 | N/A |
| 2 | Photocopiers - Energy Management | -500.11 | N/A |
| 3 | Monitors - Energy Management | -500.11 | N/A |
| 4 | Computers - Energy Management | -500.11 | N/A |
| 5 | Printers - Energy Management | -500.11 | N/A |
| 6 | Vending Machines Energy management | -500.11 | N/A |
| 7 | OffEq - Most energy efficiency - monitor pc only | -462.94 | N/A |
| 8 | OffEq - Most energy efficient Monitor | -436.54 | N/A |
| 9 | Lights - Turn off Lights for an extra hour | -422.63 | N/A |
| 10 | Lights - Sunrise-Sunset Timers | -422.35 | N/A |
| 11 | Lights - Basic Timer | -422.16 | N/A |
| 12 | Heating - More efficient air conditioning | -420.26 | N/A |
| 13 | Lights - Light Detectors | -414.59 | N/A |
| 14 | Stairwell timer | -401.69 | N/A |
| 15 | Compressed air | -343.71 | N/A |
| 16 | Presence detector | -283.64 | N/A |
| 17 | Heating - Programmable Thermostats High | -257.85 | N/A |
| 18 | Heating - Optimising Start Times | -255.15 | N/A |
| 19 | Heating - Reducing Room Temperature | -251.48 | N/A |
| 20 | Biomass boilers with RHI | -240.62 | N/A |
| 21 | Most energy efficient fridge-freezer | -221.49 | N/A |
| 22 | Heating - TRVs Fully Installed | -205.74 | N/A |
| 23 | Most energy efficient flat Roof insulation | -161.18 | N/A |
| 24 | Heating - most energy efficient boiler | -120.99 | N/A |
| 25 | Biomass district heating with RHI | -113.43 | N/A |
| 26 | Lights - Metal Halide Floods | -108.45 | N/A |
| 27 | Lights - IRC Tungsten-Halogen - Spots | -103.65 | N/A |
| 28 | Most energy efficient pitched roof insulation | -80.47 | N/A |
| 29 | Most energy efficient cavity wall insulation | -41.78 | N/A |
| 30 | Air Source Heat Pump with RHI | -1.38 | N/A |
| 31 | Most energy efficient freezer | 39.44 | N/A |
| 32 | Most energy efficient fridge | 61.40 | N/A |
| 33 | Ground Source Heat Pump with RHI | 67.48 | N/A |
| 34 | Lights- Most energy efficient Replacement 26mm | 98.16 | N/A |
| 35 | Motor - 4 Pole Motor - EFF1 replace 4 Pole | 156.60 | N/A |
| 36 | Lights – High frequency ballast | 160.00 | N/A |
| 37 | Most energy efficient external wall insulation | 288.06 | N/A |
| 38 | Solar water heating with RHI | 680.61 | N/A |
| 39 | Most energy efficient double glazing | 779.40 | N/A |
| 40 | Lights- Most energy efficient replacement tungsten | 911.53 | N/A |
| 41 | Variable Speed Drives | 917.51 | N/A |
| 42 | Most energy efficient double glazing (replace double) | 3170.37 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Commercial buildings sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Carbon-effectiveness – Tonnes of Carbon |  |  |  |
| Central business case |  | KTCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Air Source Heat Pump with RHI | 12.55 | N/A |
| 2 | Heating - most energy efficient boiler | 11.32 | N/A |
| 3 | Heating - Programmable Thermostats High | 11.00 | N/A |
| 4 | Heating - Reducing Room Temperature | 6.69 | N/A |
| 5 | Biomass boilers with RHI | 6.57 | N/A |
| 6 | Ground Source Heat Pump with RHI | 5.86 | N/A |
| 7 | Biomass district heating with RHI | 4.74 | N/A |
| 8 | Most energy efficient double glazing | 4.03 | N/A |
| 9 | Heating - Optimising Start Times | 3.77 | N/A |
| 10 | Lights - Basic Timer | 3.15 | N/A |
| 11 | Heating - More efficient air conditioning | 2.87 | N/A |
| 12 | Lights- Most energy efficient Replacement 26mm | 2.04 | N/A |
| 13 | Heating – Thermostatic Radiator Valves Fully Installed | 2.02 | N/A |
| 14 | Solar water heating with RHI | 1.82 | N/A |
| 15 | Lights - Turn off Lights for an extra hour | 1.71 | N/A |
| 16 | Monitors - Energy Management | 1.42 | N/A |
| 17 | Lights – High frequency ballast | 1.36 | N/A |
| 18 | Most energy efficient external wall insulation | 1.25 | N/A |
| 19 | Most energy efficient flat Roof insulation | 1.12 | N/A |
| 20 | Presence detector | 0.92 | N/A |
| 21 | Most energy efficient cavity wall insulation | 0.88 | N/A |
| 22 | Most energy efficient pitched roof insulation | 0.82 | N/A |
| 23 | Computers - Energy Management | 0.61 | N/A |
| 24 | Variable Speed Drives | 0.59 | N/A |
| 25 | Stairwell timer | 0.58 | N/A |
| 26 | Lights- Most energy efficient Replacement Tungsten | 0.48 | N/A |
| 27 | OffEq - Most energy efficient Monitor pc only | 0.43 | N/A |
| 28 | Lights - IRC Tungsten-Halogen - Spots | 0.40 | N/A |
| 29 | Most energy efficient freezer | 0.38 | N/A |
| 30 | Lights - Sunrise-Sunset Timers | 0.33 | N/A |
| 31 | Lights - Light Detectors | 0.33 | N/A |
| 32 | Most energy efficient double glazing (replace double) | 0.25 | N/A |
| 33 | Compressed air | 0.23 | N/A |
| 34 | Lights - Metal Halide Floods | 0.16 | N/A |
| 35 | Printers - Energy Management | 0.16 | N/A |
| 36 | Most energy efficient fridge | 0.12 | N/A |
| 37 | Photocopiers - Energy Management | 0.09 | N/A |
| 38 | OffEq Fax Machine switch off | 0.05 | N/A |
| 39 | Vending Machines Energy management | 0.03 | N/A |
| 40 | Motor - 4 Pole Motor - EFF1 replace 4 Pole | 0.03 | N/A |
| 41 | Most energy efficient fridge-freezer | 0.01 | N/A |
| 42 | OffEq - Most energy efficient Monitor | 0.01 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Transport sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Cost-effectiveness - £/TCO2 |  |  |  |
| Central business case |  | £/TCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Park and Ride | -370.03 | N/A |
| 2 | Express Bus/Coach Network | -370.03 | N/A |
| 3 | Bus Priority and Quality Enhancements | -316.54 | N/A |
| 4 | Smarter Choices | -315.17 | N/A |
| 5 | Cycling | -261.97 | N/A |
| 6 | Mild Hybrid vehicles | -55.13 | 9229 |
| 7 | Demand Management | -53.45 | N/A |
| 8 | Plug-in Hybrid vehicles | -43.75 | 5597 |
| 9 | Full Hybrid vehicles | 6.42 | 17722 |
| 10 | Biofuels | 53.11 | N/A |
| 11 | Micro Hybrid vehicles | 223.92 | 36691 |
| 12 | Electric vehicles | 290.26 | 3740 |
| 13 | New railway Stations | 1429.09 | N/A |
| 14 | Rail Electrification | 1448.29 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Transport sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Carbon-effectiveness - £/TCO2 |  |  |  |
| Central business case |  | KTCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Biofuels | 13.23 | N/A |
| 2 | Micro Hybrid vehicles | 9.50 | 36691 |
| 3 | Full Hybrid vehicles | 8.88 | 17722 |
| 4 | Plug-in Hybrid vehicles | 5.31 | 5597 |
| 5 | Electric vehicles | 4.08 | 3740 |
| 6 | Mild Hybrid vehicles | 4.03 | 9229 |
| 7 | Demand Management | 1.98 | N/A |
| 8 | Smarter Choices | 1.09 | N/A |
| 9 | Bus Priority and Quality Enhancements | 0.86 | N/A |
| 10 | Rail Electrification | 0.33 | N/A |
| 11 | Cycling | 0.22 | N/A |
| 12 | Express Bus/Coach Network | 0.15 | N/A |
| 13 | Park and Ride | 0.09 | N/A |
| 14 | New railway Stations | 0.06 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Industrial sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Cost-effectiveness - £/TCO2 |  |  |  |
| Central business case |  | £/TCO2 | Instances |
|  |  |  | By 2022 |
| 1 | Burners | -717.27 | N/A |
| 2 | Refrigeration & Air conditioning | -84.24 | N/A |
| 3 | Compressed air | -74.17 | N/A |
| 4 | Lighting | -59.37 | N/A |
| 5 | Fabrication & Machining | -55.83 | N/A |
| 6 | Design | -50.56 | N/A |
| 7 | Drying & Separation | -42.13 | N/A |
| 8 | Building Energy Management | -41.20 | N/A |
| 9 | Low temperature heating | -38.49 | N/A |
| 10 | Space heating | -35.28 | N/A |
| 11 | Operation & Maintenance | -31.63 | N/A |
| 12 | High temperature heating | -27.09 | N/A |
| 13 | Heat recovery | -26.82 | N/A |
| 14 | New food & drink plant | -26.56 | N/A |
| 15 | Controls | -25.32 | N/A |
| 16 | Process improvement | 26.19 | N/A |
| 17 | Energy management | 26.81 | N/A |
| 18 | Ventilation | 200.38 | N/A |
| 19 | Information Technology | 438.14 | N/A |
| 20 | Motors & Drives | 600.24 | N/A |
| 21 | Insulation | 764.62 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| Industrial sector - Calderdale |  |  |  |
| --- | --- | --- | --- |
| Carbon-effectiveness – Tonnes of Carbon |  |  |  |
| Central business case |  | KTCO2 | Instances |
|  |  |  | By 2022 |
| 1 | High temperature heating | 12.8263 | N/A |
| 2 | Process improvement | 11.6788 | N/A |
| 3 | Motors & Drives | 7.04913 | N/A |
| 4 | Drying & Separation | 6.45286 | N/A |
| 5 | Operation & Maintenance | 4.86736 | N/A |
| 6 | Controls | 4.49746 | N/A |
| 7 | Low temperature heating | 3.57255 | N/A |
| 8 | Heat recovery | 3.23849 | N/A |
| 9 | Energy management | 2.18429 | N/A |
| 10 | Space heating | 1.99753 | N/A |
| 11 | Fabrication & Machining | 1.83787 | N/A |
| 12 | Ventilation | 1.03868 | N/A |
| 13 | Building Energy Management | 0.8161 | N/A |
| 14 | Compressed air | 0.64335 | N/A |
| 15 | Refrigeration & Air conditioning | 0.54204 | N/A |
| 16 | Insulation | 0.47077 | N/A |
| 17 | Design | 0.41425 | N/A |
| 18 | Lighting | 0.25719 | N/A |
| 19 | Burners | 0.18423 | N/A |
| 20 | New food & drink plant | 0.11412 | N/A |
| 21 | Information Technology | 0.05086 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| All sectors - Calderdale |  |  |  |  |
| --- | --- | --- | --- | --- |
| Cost-effectiveness - £/TCO2 |  |  |  |  |
| Central business case |  |  | £/TCO2 | Instances |
|  |  |  |  | By 2022 |
| 1 | Industry | Burners | -717.27 | N/A |
| 2 | Commercial | OffEq Fax Machine switch off | -500.11 | N/A |
| 3 | Commercial | Photocopiers - Energy Management | -500.11 | N/A |
| 4 | Commercial | Monitors - Energy Management | -500.11 | N/A |
| 5 | Commercial | Computers - Energy Management | -500.11 | N/A |
| 6 | Commercial | Printers - Energy Management | -500.11 | N/A |
| 7 | Commercial | Vending Machines Energy management | -500.11 | N/A |
| 8 | Commercial | OffEq - Most EE Monitor pc only | -462.94 | N/A |
| 9 | Domestic | Mini wind turbines (5kW) with FIT | -457.39 | 650 |
| 10 | Commercial | OffEq - Most energy efficient monitor | -436.54 | N/A |
| 11 | Commercial | Lights - Turn off Lights for an extra hour | -422.63 | N/A |
| 12 | Commercial | Lights - Sunrise-Sunset Timers | -422.35 | N/A |
| 13 | Commercial | Lights - Basic Timer | -422.16 | N/A |
| 14 | Commercial | Heating - More efficient air conditioning | -420.26 | N/A |
| 15 | Commercial | Lights - Light Detectors | -414.59 | N/A |
| 16 | Commercial | Stairwell timer | -401.69 | N/A |
| 17 | Domestic | Photovoltaic generation with FIT | -400.89 | 2,592 |
| 18 | Transport | Park and Ride | -370.03 | N/A |
| 19 | Transport | Express Bus/Coach Network | -370.03 | N/A |
| 20 | Commercial | Compressed air | -343.71 | N/A |
| 21 | Domestic | Biomass boilers with RHI | -324.77 | N/A |
| 22 | Transport | Bus Priority and Quality Enhancements | -316.54 | N/A |
| 23 | Transport | Smarter Choices | -315.17 | N/A |
| 24 | Commercial | Presence detector | -283.64 | N/A |
| 25 | Transport | Cycling | -261.97 | N/A |
| 26 | Commercial | Heating - Programmable Thermostats High | -257.85 | N/A |
| 27 | Commercial | Heating - Optimising Start Times | -255.15 | N/A |
| 28 | Commercial | Heating - Reducing Room Temperature | -251.48 | N/A |
| 29 | Domestic | Electronic products | -244.68 | 1,398,389 |
| 30 | Domestic | Information and Communications Tech products | -244.28 | 262,968 |
| 31 | Commercial | Biomass boilers with RHI | -240.62 | N/A |
| 32 | Domestic | Integrated digital TVs | -228.08 | 5,560 |
| 33 | Domestic | Reduced standby consumption | -228.04 | 30,903 |
| 34 | Commercial | Most energy efficient fridge-freezer | -221.49 | N/A |
| 35 | Domestic | Reduce heating for washing machines | -208.79 | 28,259 |
| 36 | Commercial | Heating – Thermostatic Radiator Valves fully installed | -205.74 | N/A |
| 37 | Domestic | A++ rated cold appliances | -180.33 | 953 |
| 38 | Domestic | A rated ovens | -175.41 | 0 |
| 39 | Commercial | Most energy efficient flat roof insulation | -161.18 | N/A |
| 40 | Domestic | Biomass district heating with RHI | -155.23 | N/A |
| 41 | Domestic | Efficient lighting | -152.82 | 57,531 |
| 42 | Domestic | A-rated condensing boiler | -145.33 | 0 |
| 43 | Domestic | Insulate primary pipework | -132.31 | 2,808 |
| 44 | Domestic | Glazing - old double to new double | -122.87 | 3,351 |
| 45 | Domestic | Uninsulated cylinder to high performance | -121.96 | 1,572 |
| 46 | Commercial | Heating - most energy efficient boiler | -120.99 | N/A |
| 47 | Domestic | Glazing - single to new | -120.39 | 2,229 |
| 48 | Domestic | Insulated doors | -117.88 | 0 |
| 49 | Commercial | Biomass district heating with RHI | -113.43 | N/A |
| 50 | Domestic | Reduce household heating by 1 C | -110.55 | 52,050 |
| All sectors - Calderdale |  |  |  |  |
| Cost-effectiveness - £/TCO2 |  |  |  |  |
| Central business case |  |  | £/TCO2 | Instances |
|  |  |  |  | By 2022 |
| 51 | Domestic | Induction hobs | -109.79 | 0 |
| 52 | Commercial | Lights - Metal Halide Floods | -108.45 | N/A |
| 53 | Commercial | Lights - IRC Tungsten-Halogen - Spots | -103.65 | N/A |
| 54 | Industry | Refrigeration & Air conditioning | -84.24 | N/A |
| 55 | Commercial | Most energy efficient pitched roof insulation | -80.47 | N/A |
| 56 | Domestic | Loft insulation 0 - 270mm | -79.42 | 3,043 |
| 57 | Industry | Compressed air | -74.17 | N/A |
| 58 | Domestic | Pre76 cavity wall insulation | -73.25 | 10,338 |
| 59 | Domestic | Improve airtightness | -71.34 | 7,164 |
| 60 | Domestic | DIY floor insulation (susp. timber floors) | -70.10 | 4,812 |
| 61 | Domestic | Loft insulation 25 - 270mm | -68.85 | 327 |
| 62 | Industry | Lighting | -59.37 | N/A |
| 63 | Domestic | Loft insulation 50 - 270mm | -58.66 | 2,067 |
| 64 | Domestic | 76-83 cavity wall insulation | -56.15 | 1,985 |
| 65 | Industry | Fabrication & Machining | -55.83 | N/A |
| 66 | Transport | Mild Hybrid vehicles | -55.13 | 9229 |
| 67 | Domestic | A+ rated wet appliances | -54.24 | 29,715 |
| 68 | Transport | Demand Management | -53.45 | N/A |
| 69 | Domestic | Loft insulation 75 - 270mm | -52.29 | 4,631 |
| 70 | Industry | Design | -50.56 | N/A |
| 71 | Transport | Plug-in Hybrid vehicles | -43.75 | 5597 |
| 72 | Industry | Drying & Separation | -42.13 | N/A |
| 73 | Commercial | Most ee cavity wall insulation | -41.78 | N/A |
| 74 | Industry | Building Energy Management | -41.20 | N/A |
| 75 | Industry | Low temperature heating | -38.49 | N/A |
| 76 | Industry | Space heating | -35.28 | N/A |
| 77 | Industry | Operation and Maintenance | -31.63 | N/A |
| 78 | Domestic | Post '83 cavity wall insulation | -30.19 | 1,066 |
| 79 | Domestic | Turn unnecessary lighting off | -28.26 | 51,468 |
| 80 | Industry | High temperature heating | -27.09 | N/A |
| 81 | Industry | Heat recovery | -26.82 | N/A |
| 82 | Industry | New food & drink plant | -26.56 | N/A |
| 83 | Domestic | Installed floor insulation (susp.TFs) | -25.38 | 0 |
| 84 | Industry | Controls | -25.32 | N/A |
| 85 | Domestic | Loft insulation 100 - 270mm | -8.18 | 10,395 |
| 86 | Domestic | Glazing (to best practise) | -3.54 | 4,542 |
| 87 | Commercial | Air Source Heat Pump with RHI | -1.38 | N/A |
| 88 | Domestic | Ground Source Heat Pump with RHI | 2.44 | N/A |
| 89 | Transport | Full Hybrid vehicles | 6.42 | 17722 |
| 90 | Domestic | Solid wall insulation | 8.62 | 11,039 |
| 91 | Domestic | Loft insulation 125 - 270mm | 11.42 | 0 |
| 92 | Industry | Process improvement | 26.19 | N/A |
| 93 | Industry | Energy management | 26.81 | N/A |
| 94 | Commercial | Most energy efficient freezer | 39.44 | N/A |
| 95 | Transport | Biofuels | 53.11 | N/A |
| 96 | Domestic | Loft insulation 150 - 270mm | 58.91 | 0 |
| 97 | Domestic | Room thermostat to control heating | 59.10 | 2,249 |
| 98 | Commercial | Most energy efficient fridge | 61.40 | N/A |
| 99 | Commercial | Ground Source Heat Pump with RHI | 67.48 | N/A |
| 100 | Domestic | Paper type solid wall insulation | 75.82 | 334 |
| All sectors - Calderdale |  |  |  |  |
| Cost-effectiveness - £/TCO2 |  |  |  |  |
| Central business case |  |  | £/TCO2 | Instances |
|  |  |  |  | By 2022 |
| 101 | Domestic | Modestly insulated cylinder to high performance | 89.77 | 5,200 |
| 102 | Commercial | Lights- Most energy efficient Replacement 26mm | 98.16 | N/A |
| 103 | Domestic | Thermostatic radiator valves | 135.25 | 3,412 |
| 104 | Commercial | Motor - 4 Pole Motor - EFF1 replace 4 Pole | 156.60 | N/A |
| 105 | Commercial | Lights – High frequency ballast | 160.00 | N/A |
| 106 | Industry | Ventilation | 200.38 | N/A |
| 107 | Transport | Micro Hybrid vehicles | 223.92 | 36691 |
| 108 | Commercial | Most energy efficient external wall insulation | 288.06 | N/A |
| 109 | Transport | Electric vehicles | 290.26 | 3740 |
| 110 | Domestic | Air Source Heat Pump with RHI | 340.39 | N/A |
| 111 | Industry | Information Technology | 438.14 | N/A |
| 112 | Industry | Motors & Drives | 600.24 | N/A |
| 113 | Domestic | Micro wind turbines (1kW) with FIT | 639.41 | 548 |
| 114 | Domestic | Hot water cylinder 'stat | 670.95 | 1,635 |
| 115 | Commercial | Solar water heating with RHI | 680.61 | N/A |
| 116 | Industry | Insulation | 764.62 | N/A |
| 117 | Commercial | Most energy efficient double glazing | 779.40 | N/A |
| 118 | Commercial | Lights- Most energy efficient replacement tungsten | 911.53 | N/A |
| 119 | Commercial | Variable Speed Drives | 917.51 | N/A |
| 120 | Domestic | Solar water heating with RHI | 1173.14 | N/A |
| 121 | Transport | New railway Stations | 1429.09 | N/A |
| 122 | Transport | Rail Electrification | 1448.29 | N/A |
| 123 | Commercial | Most energy efficient double glazing (replace double) | 3170.37 | N/A |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key

| All sectors - Calderdale |  |  |  |  |
| --- | --- | --- | --- | --- |
| Carbon-effectiveness – Tonnes of Carbon |  |  |  |  |
| Central business case |  |  | KTCO2 | Instances |
|  |  |  |  | By 2022 |
| 1 | Domestic | Solid wall insulation | 18.97 | 11,039 |
| 2 | Domestic | Reduce household heating by 1 C | 14.21 | 52,050 |
| 3 | Transport | Biofuels | 13.23 | N/A |
| 4 | Industry | High temperature heating | 12.83 | N/A |
| 5 | Commercial | Air Source Heat Pump with RHI | 12.55 | N/A |
| 6 | Industry | Process improvement | 11.68 | N/A |
| 7 | Commercial | Heating - most energy efficient boiler | 11.32 | N/A |
| 8 | Commercial | Heating - Programmable Thermostats | 11.00 | N/A |
| 9 | Domestic | Biomass boilers with RHI | 10.86 | N/A |
| 10 | Transport | Micro Hybrid vehicles | 9.50 | 36,691 |
| 11 | Transport | Full Hybrid vehicles | 8.88 | 17,722 |
| 12 | Industry | Motors & Drives | 7.05 | N/A |
| 13 | Commercial | Heating - Reducing Room Temperature | 6.69 | N/A |
| 14 | Commercial | Biomass boilers with RHI | 6.57 | N/A |
| 15 | Industry | Drying & Separation | 6.45 | N/A |
| 16 | Domestic | Pre76 cavity wall insulation | 6.07 | 10,338 |
| 17 | Domestic | Electronic products | 5.97 | 1,398,389 |
| 18 | Commercial | Ground Source Heat Pump with RHI | 5.86 | N/A |
| 19 | Domestic | Biomass district heating with RHI | 5.63 | N/A |
| 20 | Domestic | Ground Source Heat Pump with RHI | 5.44 | N/A |
| 21 | Transport | Plug-in Hybrid vehicles | 5.31 | 5,597 |
| 22 | Industry | Operation and Maintenance | 4.87 | N/A |
| 23 | Commercial | Biomass district heating with RHI | 4.74 | N/A |
| 24 | Industry | Controls | 4.50 | N/A |
| 25 | Transport | Electric vehicles | 4.08 | 3,740 |
| 26 | Transport | Mild Hybrid vehicles | 4.03 | 9,229 |
| 27 | Commercial | Most ee double glazing | 4.03 | N/A |
| 28 | Domestic | Information and Communication Technology products | 3.92 | 262,968 |
| 29 | Commercial | Heating - Optimising Start Times | 3.77 | N/A |
| 30 | Domestic | Efficient lighting | 3.67 | 57,531 |
| 31 | Industry | Low temperature heating | 3.57 | N/A |
| 32 | Domestic | Air Source Heat Pump with RHI | 3.24 | N/A |
| 33 | Industry | Heat recovery | 3.24 | N/A |
| 34 | Commercial | Lights - Basic Timer | 3.15 | N/A |
| 35 | Commercial | Heating - More efficient air conditioning | 2.87 | N/A |
| 36 | Industry | Energy management | 2.18 | N/A |
| 37 | Commercial | Lights- Most energy efficient Replacement 26mm | 2.04 | N/A |
| 38 | Commercial | Heating – Thermostatic Radiator Valves fully installed | 2.02 | N/A |
| 39 | Industry | Space heating | 2.00 | N/A |
| 40 | Transport | Demand Management | 1.98 | N/A |
| 41 | Domestic | Loft insulation 0 - 270mm | 1.86 | 3,043 |
| 42 | Industry | Fabrication & Machining | 1.84 | N/A |
| 43 | Commercial | Solar water heating with RHI | 1.82 | N/A |
| 44 | Commercial | Lights - Turn off Lights for an extra hour | 1.71 | N/A |
| 45 | Commercial | Monitors - Energy Management | 1.42 | N/A |
| 46 | Commercial | Lights – High frequency ballast | 1.36 | N/A |
| 47 | Commercial | Most energy efficient external wall insulation | 1.25 | N/A |
| 48 | Domestic | A+ rated wet appliances | 1.20 | 29,715 |
| 49 | Commercial | Most energy efficient flat roof insulation | 1.12 | N/A |
| 50 | Transport | Smarter Choices | 1.09 | N/A |
| All sectors - Calderdale |  |  |  |  |
| Carbon-effectiveness - £/TCO2 |  |  |  |  |
| Central business case |  |  | £/TCO2 | Instances |
|  |  |  |  | By 2022 |
| 51 | Domestic | DIY floor insulation (susp. timber floors) | 1.04 | 4,812 |
| 52 | Industry | Ventilation | 1.04 | N/A |
| 53 | Domestic | Glazing - single to new | 0.97 | 2,229 |
| 54 | Commercial | Presence detector | 0.92 | N/A |
| 55 | Domestic | Mini wind turbines (5kW) with FIT | 0.90 | 650 |
| 56 | Commercial | Most energy efficient cavity wall insulation | 0.88 | N/A |
| 57 | Domestic | Reduce heating for washing machines | 0.87 | 28,259 |
| 58 | Domestic | Photovoltaic generation with FIT | 0.86 | 2,592 |
| 59 | Transport | Bus Priority and Quality Enhancements | 0.86 | N/A |
| 60 | Domestic | Loft insulation 100 - 270mm | 0.85 | 10,395 |
| 61 | Commercial | Most energy efficient pitched roof insulation | 0.82 | N/A |
| 62 | Industry | Building Energy Management | 0.82 | N/A |
| 63 | Domestic | Uninsulated cylinder to high performance | 0.79 | 1,572 |
| 64 | Domestic | Solar water heating with RHI | 0.75 | N/A |
| 65 | Domestic | Reduced standby consumption | 0.73 | 30,903 |
| 66 | Domestic | Improve airtightness | 0.68 | 7,164 |
| 67 | Domestic | Glazing (to Best Practice) | 0.66 | 4,542 |
| 68 | Industry | Compressed air | 0.64 | N/A |
| 69 | Domestic | 76-83 cavity wall insulation | 0.62 | 1,985 |
| 70 | Commercial | Computers - Energy Management | 0.61 | N/A |
| 71 | Commercial | Variable Speed Drives | 0.59 | N/A |
| 72 | Commercial | Stairwell timer | 0.58 | N/A |
| 73 | Industry | Refrigeration & Air conditioning | 0.54 | N/A |
| 74 | Domestic | Glazing - old double to new double | 0.54 | 3,351 |
| 75 | Domestic | Loft insulation 75 - 270mm | 0.52 | 4,631 |
| 76 | Commercial | Lights- Most EE Replacement Tungsten | 0.48 | N/A |
| 77 | Industry | Insulation | 0.47 | N/A |
| 78 | Domestic | Modestly insulated cyl to high performance | 0.46 | 5,200 |
| 79 | Commercial | OffEq - Most EE Monitor pc only | 0.43 | N/A |
| 80 | Industry | Design | 0.41 | N/A |
| 81 | Commercial | Lights - IRC Tungsten-Halogen - Spots | 0.40 | N/A |
| 82 | Commercial | Most energy efficient freezer | 0.38 | N/A |
| 83 | Commercial | Lights - Sunrise-Sunset Timers | 0.33 | N/A |
| 84 | Domestic | Loft insulation 50 - 270mm | 0.33 | 2,067 |
| 85 | Transport | Rail Electrification | 0.33 | N/A |
| 86 | Commercial | Lights - Light Detectors | 0.33 | N/A |
| 87 | Domestic | Room thermostat to control heating | 0.28 | 2,249 |
| 88 | Industry | Lighting | 0.26 | N/A |
| 89 | Commercial | Most energy efficient double glazing (replace double) | 0.25 | N/A |
| 90 | Commercial | Compressed air | 0.23 | N/A |
| 91 | Transport | Cycling | 0.22 | N/A |
| 92 | Domestic | Turn unnecessary lighting off | 0.22 | 51,468 |
| 93 | Domestic | Post '83 cavity wall insulation | 0.18 | 1,066 |
| 94 | Industry | Burners | 0.18 | N/A |
| 95 | Commercial | Lights - Metal Halide Floods | 0.16 | N/A |
| 96 | Commercial | Printers - Energy Management | 0.16 | N/A |
| 97 | Transport | Express Bus/Coach Network | 0.15 | N/A |
| 98 | Domestic | Thermostatic radiator valves | 0.15 | 3,412 |
| 99 | Commercial | Most energy efficient fridge | 0.12 | N/A |
| 100 | Domestic | Insulate primary pipework | 0.12 | 2,808 |
| All sectors - Calderdale |  |  |  |  |
| Carbon-effectiveness - £/TCO2 |  |  |  |  |
| Central business case |  |  | £/TCO2 | Instances |
|  |  |  |  | By 2022 |
| 101 | Industry | New food & drink plant | 0.11 | N/A |
| 102 | Transport | Park and Ride | 0.09 | N/A |
| 103 | Domestic | Paper type solid wall insulation | 0.09 | 334 |
| 104 | Commercial | Photocopiers - Energy Management | 0.09 | N/A |
| 105 | Domestic | Loft insulation 25 - 270mm | 0.09 | 327 |
| 106 | Domestic | Integrated digital TVs | 0.08 | 5,560 |
| 107 | Domestic | Micro wind turbines (1kW) with FIT | 0.08 | 548 |
| 108 | Domestic | A++ rated cold appliances | 0.07 | 953 |
| 109 | Transport | New railway Stations | 0.06 | N/A |
| 110 | Industry | Information Technology | 0.05 | N/A |
| 111 | Commercial | OffEq Fax Machine switch off | 0.05 | N/A |
| 112 | Commercial | Vending Machines Energy management | 0.03 | N/A |
| 113 | Commercial | Motor - 4 Pole Motor - EFF1 replace 4 Pole | 0.03 | N/A |
| 114 | Domestic | Hot water cylinder 'stat | 0.02 | 1,635 |
| 115 | Commercial | Most energy efficient fridge-freezer | 0.01 | N/A |
| 116 | Commercial | OffEq - Most energy efficient monitor | 0.01 | N/A |
| 117 | Domestic | A rated ovens | 0.00 | BAU |
| 118 | Domestic | A-rated condensing boiler | 0.00 | BAU |
| 119 | Domestic | Insulated doors | 0.00 | BAU |
| 120 | Domestic | Induction hobs | 0.00 | BAU |
| 121 | Domestic | Installed floor insulation (susp. Timber floors) | 0.00 | BAU |
| 122 | Domestic | Loft insulation 125 - 270mm | 0.00 | BAU |
| 123 | Domestic | Loft insulation 150 - 270mm | 0.00 | BAU |

|  | Cost effective |
| --- | --- |
|  | Cost neutral |
|  | Realistic Technical Potential |
| N/A | No figures currently available |
| BAU | All uptake exists in Business As Usual scenario |

Key